## summary
regression | X | Y | n | r | slope | intercept | BA_bias | n_outliers
OLS | TAT207 | TAT1 | 81 | 0.98534 | 0.93455 | -0.53871 | -1.3494 | 5

## sample_metrics
SampleID | TAT207 | TAT1 | X | Y | diff_y_minus_x | abs_diff_yx | mean_xy | rel_diff_yx_pct | bias_pct_vs_x | ratio_y_over_x | pred_y | residual | abs_residual | z_MAD | abs_z_MAD | outlier_level | outlier_basis | outlier_note | regression
| 13.6 | 11 | TAT207 | TAT1 | -2.6 | 2.6 | 12.3 | 21.1382 | -19.1176 | 0.80882 | 12.1712 | -1.1712 | 1.1712 | -0.82473 | 0.82473 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 7.7 | 5.8 | TAT207 | TAT1 | -1.9 | 1.9 | 6.75 | 28.1481 | -24.6753 | 0.75325 | 6.6573 | -0.85734 | 0.85734 | -0.60372 | 0.60372 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 12.2 | 9.1 | TAT207 | TAT1 | -3.1 | 3.1 | 10.65 | 29.108 | -25.4098 | 0.7459 | 10.8628 | -1.7628 | 1.7628 | -1.2413 | 1.2413 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 13 | 9.7 | TAT207 | TAT1 | -3.3 | 3.3 | 11.35 | 29.0749 | -25.3846 | 0.74615 | 11.6105 | -1.9105 | 1.9105 | -1.3453 | 1.3453 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 6.9 | 7.2 | TAT207 | TAT1 | 0.3 | 0.3 | 7.05 | 4.2553 | 4.3478 | 1.0435 | 5.9097 | 1.2903 | 1.2903 | 0.90861 | 0.90861 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 21.5 | 20.1 | TAT207 | TAT1 | -1.4 | 1.4 | 20.8 | 6.7308 | -6.5116 | 0.93488 | 19.5541 | 0.54585 | 0.54585 | 0.38438 | 0.38438 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 4.7 | 4.4 | TAT207 | TAT1 | -0.3 | 0.3 | 4.55 | 6.5934 | -6.383 | 0.93617 | 3.8537 | 0.54632 | 0.54632 | 0.38471 | 0.38471 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 11.1 | 9.2 | TAT207 | TAT1 | -1.9 | 1.9 | 10.15 | 18.7192 | -17.1171 | 0.82883 | 9.8348 | -0.63481 | 0.63481 | -0.44702 | 0.44702 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 24.3 | 23.1 | TAT207 | TAT1 | -1.2 | 1.2 | 23.7 | 5.0633 | -4.9383 | 0.95062 | 22.1709 | 0.92911 | 0.92911 | 0.65426 | 0.65426 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 30 | 16 | TAT207 | TAT1 | -14 | 14 | 23 | 60.8696 | -46.6667 | 0.53333 | 27.4978 | -11.4978 | 11.4978 | -8.0965 | 8.0965 | strong_candidate | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 6.7 | 4.9 | TAT207 | TAT1 | -1.8 | 1.8 | 5.8 | 31.0345 | -26.8657 | 0.73134 | 5.7228 | -0.82278 | 0.82278 | -0.57939 | 0.57939 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 5.8 | 5.7 | TAT207 | TAT1 | -0.1 | 0.1 | 5.75 | 1.7391 | -1.7241 | 0.98276 | 4.8817 | 0.81831 | 0.81831 | 0.57624 | 0.57624 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 5.5 | 4.8 | TAT207 | TAT1 | -0.7 | 0.7 | 5.15 | 13.5922 | -12.7273 | 0.87273 | 4.6013 | 0.19868 | 0.19868 | 0.13991 | 0.13991 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 5.5 | 5.8 | TAT207 | TAT1 | 0.3 | 0.3 | 5.65 | 5.3097 | 5.4545 | 1.0545 | 4.6013 | 1.1987 | 1.1987 | 0.84408 | 0.84408 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 27.4 | 19.6 | TAT207 | TAT1 | -7.8 | 7.8 | 23.5 | 33.1915 | -28.4672 | 0.71533 | 25.068 | -5.468 | 5.468 | -3.8504 | 3.8504 | candidate | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 6.5 | 7.1 | TAT207 | TAT1 | 0.6 | 0.6 | 6.8 | 8.8235 | 9.2308 | 1.0923 | 5.5359 | 1.5641 | 1.5641 | 1.1014 | 1.1014 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 4.2 | 3.5 | TAT207 | TAT1 | -0.7 | 0.7 | 3.85 | 18.1818 | -16.6667 | 0.83333 | 3.3864 | 0.1136 | 0.1136 | 0.079992 | 0.079992 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 7.8 | 8.7 | TAT207 | TAT1 | 0.9 | 0.9 | 8.25 | 10.9091 | 11.5385 | 1.1154 | 6.7508 | 1.9492 | 1.9492 | 1.3726 | 1.3726 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 7.2 | 6.2 | TAT207 | TAT1 | -1 | 1 | 6.7 | 14.9254 | -13.8889 | 0.86111 | 6.1901 | 0.0099406 | 0.0099406 | 0.0069999 | 0.0069999 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 32.7 | 32.4 | TAT207 | TAT1 | -0.3 | 0.3 | 32.55 | 0.92166 | -0.91743 | 0.99083 | 30.0211 | 2.3789 | 2.3789 | 1.6751 | 1.6751 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 7.4 | 6.3 | TAT207 | TAT1 | -1.1 | 1.1 | 6.85 | 16.0584 | -14.8649 | 0.85135 | 6.377 | -0.07697 | 0.07697 | -0.0542 | 0.0542 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 5.4 | 4.3 | TAT207 | TAT1 | -1.1 | 1.1 | 4.85 | 22.6804 | -20.3704 | 0.7963 | 4.5079 | -0.20787 | 0.20787 | -0.14637 | 0.14637 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 5.9 | 4.9 | TAT207 | TAT1 | -1 | 1 | 5.4 | 18.5185 | -16.9492 | 0.83051 | 4.9751 | -0.075142 | 0.075142 | -0.052913 | 0.052913 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 5 | 6.3 | TAT207 | TAT1 | 1.3 | 1.3 | 5.65 | 23.0088 | 26 | 1.26 | 4.134 | 2.166 | 2.166 | 1.5252 | 1.5252 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 5.2 | 5.8 | TAT207 | TAT1 | 0.6 | 0.6 | 5.5 | 10.9091 | 11.5385 | 1.1154 | 4.321 | 1.479 | 1.479 | 1.0415 | 1.0415 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 4.9 | 5 | TAT207 | TAT1 | 0.1 | 0.1 | 4.95 | 2.0202 | 2.0408 | 1.0204 | 4.0406 | 0.95941 | 0.95941 | 0.6756 | 0.6756 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 8.6 | 10.5 | TAT207 | TAT1 | 1.9 | 1.9 | 9.55 | 19.8953 | 22.093 | 1.2209 | 7.4984 | 3.0016 | 3.0016 | 2.1136 | 2.1136 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 10.7 | 8.8 | TAT207 | TAT1 | -1.9 | 1.9 | 9.75 | 19.4872 | -17.757 | 0.82243 | 9.461 | -0.66099 | 0.66099 | -0.46545 | 0.46545 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 33.9 | 31.2 | TAT207 | TAT1 | -2.7 | 2.7 | 32.55 | 8.2949 | -7.9646 | 0.92035 | 31.1426 | 0.057409 | 0.057409 | 0.040426 | 0.040426 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 42.1 | 35.1 | TAT207 | TAT1 | -7 | 7 | 38.6 | 18.1347 | -16.6271 | 0.83373 | 38.8059 | -3.7059 | 3.7059 | -2.6096 | 2.6096 | mild_candidate | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 16.2 | 10.1 | TAT207 | TAT1 | -6.1 | 6.1 | 13.15 | 46.3878 | -37.6543 | 0.62346 | 14.601 | -4.501 | 4.501 | -3.1695 | 3.1695 | mild_candidate | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 5.2 | 5.1 | TAT207 | TAT1 | -0.1 | 0.1 | 5.15 | 1.9417 | -1.9231 | 0.98077 | 4.321 | 0.77904 | 0.77904 | 0.54859 | 0.54859 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 3.1 | 3.8 | TAT207 | TAT1 | 0.7 | 0.7 | 3.45 | 20.2899 | 22.5806 | 1.2258 | 2.3584 | 1.4416 | 1.4416 | 1.0151 | 1.0151 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 75 | 66.9 | TAT207 | TAT1 | -8.1 | 8.1 | 70.95 | 11.4165 | -10.8 | 0.892 | 69.5527 | -2.6527 | 2.6527 | -1.8679 | 1.8679 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 8.7 | 7.9 | TAT207 | TAT1 | -0.8 | 0.8 | 8.3 | 9.6386 | -9.1954 | 0.90805 | 7.5919 | 0.30811 | 0.30811 | 0.21697 | 0.21697 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 8.4 | 7.8 | TAT207 | TAT1 | -0.6 | 0.6 | 8.1 | 7.4074 | -7.1429 | 0.92857 | 7.3115 | 0.48848 | 0.48848 | 0.34398 | 0.34398 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 13.2 | 10.3 | TAT207 | TAT1 | -2.9 | 2.9 | 11.75 | 24.6809 | -21.9697 | 0.7803 | 11.7974 | -1.4974 | 1.4974 | -1.0544 | 1.0544 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 7.3 | 9.5 | TAT207 | TAT1 | 2.2 | 2.2 | 8.4 | 26.1905 | 30.137 | 1.3014 | 6.2835 | 3.2165 | 3.2165 | 2.265 | 2.265 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 9.3 | 7.1 | TAT207 | TAT1 | -2.2 | 2.2 | 8.2 | 26.8293 | -23.6559 | 0.76344 | 8.1526 | -1.0526 | 1.0526 | -0.74123 | 0.74123 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 16 | 12.1 | TAT207 | TAT1 | -3.9 | 3.9 | 14.05 | 27.758 | -24.375 | 0.75625 | 14.4141 | -2.3141 | 2.3141 | -1.6295 | 1.6295 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 46.7 | 33.1 | TAT207 | TAT1 | -13.6 | 13.6 | 39.9 | 34.0852 | -29.1221 | 0.70878 | 43.1049 | -10.0049 | 10.0049 | -7.0452 | 7.0452 | strong_candidate | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 4 | 4.4 | TAT207 | TAT1 | 0.4 | 0.4 | 4.2 | 9.5238 | 10 | 1.1 | 3.1995 | 1.2005 | 1.2005 | 0.84537 | 0.84537 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 13 | 10.7 | TAT207 | TAT1 | -2.3 | 2.3 | 11.85 | 19.4093 | -17.6923 | 0.82308 | 11.6105 | -0.91046 | 0.91046 | -0.64113 | 0.64113 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 5.1 | 4.5 | TAT207 | TAT1 | -0.6 | 0.6 | 4.8 | 12.5 | -11.7647 | 0.88235 | 4.2275 | 0.2725 | 0.2725 | 0.19189 | 0.19189 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 6.3 | 6.1 | TAT207 | TAT1 | -0.2 | 0.2 | 6.2 | 3.2258 | -3.1746 | 0.96825 | 5.349 | 0.75104 | 0.75104 | 0.52886 | 0.52886 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 5 | 4.7 | TAT207 | TAT1 | -0.3 | 0.3 | 4.85 | 6.1856 | -6 | 0.94 | 4.134 | 0.56595 | 0.56595 | 0.39853 | 0.39853 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 2.4 | 2.7 | TAT207 | TAT1 | 0.3 | 0.3 | 2.55 | 11.7647 | 12.5 | 1.125 | 1.7042 | 0.99579 | 0.99579 | 0.70121 | 0.70121 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 10.3 | 9.6 | TAT207 | TAT1 | -0.7 | 0.7 | 9.95 | 7.0352 | -6.7961 | 0.93204 | 9.0872 | 0.51283 | 0.51283 | 0.36112 | 0.36112 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 9.1 | 7.1 | TAT207 | TAT1 | -2 | 2 | 8.1 | 24.6914 | -21.978 | 0.78022 | 7.9657 | -0.86571 | 0.86571 | -0.60961 | 0.60961 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 11 | 10.3 | TAT207 | TAT1 | -0.7 | 0.7 | 10.65 | 6.5728 | -6.3636 | 0.93636 | 9.7414 | 0.55864 | 0.55864 | 0.39338 | 0.39338 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 13.2 | 11 | TAT207 | TAT1 | -2.2 | 2.2 | 12.1 | 18.1818 | -16.6667 | 0.83333 | 11.7974 | -0.79737 | 0.79737 | -0.56149 | 0.56149 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 11.1 | 7.4 | TAT207 | TAT1 | -3.7 | 3.7 | 9.25 | 40 | -33.3333 | 0.66667 | 9.8348 | -2.4348 | 2.4348 | -1.7145 | 1.7145 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 5.2 | 5.3 | TAT207 | TAT1 | 0.1 | 0.1 | 5.25 | 1.9048 | 1.9231 | 1.0192 | 4.321 | 0.97904 | 0.97904 | 0.68942 | 0.68942 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 3.9 | 4.4 | TAT207 | TAT1 | 0.5 | 0.5 | 4.15 | 12.0482 | 12.8205 | 1.1282 | 3.106 | 1.294 | 1.294 | 0.91118 | 0.91118 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 123.5 | 125.8 | TAT207 | TAT1 | 2.3 | 2.3 | 124.65 | 1.8452 | 1.8623 | 1.0186 | 114.8784 | 10.9216 | 10.9216 | 7.6907 | 7.6907 | strong_candidate | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 5.4 | 4.6 | TAT207 | TAT1 | -0.8 | 0.8 | 5 | 16 | -14.8148 | 0.85185 | 4.5079 | 0.092134 | 0.092134 | 0.064879 | 0.064879 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 4.1 | 5.2 | TAT207 | TAT1 | 1.1 | 1.1 | 4.65 | 23.6559 | 26.8293 | 1.2683 | 3.2929 | 1.9071 | 1.9071 | 1.3429 | 1.3429 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 13.2 | 11 | TAT207 | TAT1 | -2.2 | 2.2 | 12.1 | 18.1818 | -16.6667 | 0.83333 | 11.7974 | -0.79737 | 0.79737 | -0.56149 | 0.56149 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 5.1 | 6.6 | TAT207 | TAT1 | 1.5 | 1.5 | 5.85 | 25.641 | 29.4118 | 1.2941 | 4.2275 | 2.3725 | 2.3725 | 1.6707 | 1.6707 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 6.8 | 6.3 | TAT207 | TAT1 | -0.5 | 0.5 | 6.55 | 7.6336 | -7.3529 | 0.92647 | 5.8162 | 0.48376 | 0.48376 | 0.34065 | 0.34065 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 4.7 | 4.6 | TAT207 | TAT1 | -0.1 | 0.1 | 4.65 | 2.1505 | -2.1277 | 0.97872 | 3.8537 | 0.74632 | 0.74632 | 0.52554 | 0.52554 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 7.7 | 10.5 | TAT207 | TAT1 | 2.8 | 2.8 | 9.1 | 30.7692 | 36.3636 | 1.3636 | 6.6573 | 3.8427 | 3.8427 | 2.7059 | 2.7059 | mild_candidate | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 4.8 | 4.1 | TAT207 | TAT1 | -0.7 | 0.7 | 4.45 | 15.7303 | -14.5833 | 0.85417 | 3.9471 | 0.15286 | 0.15286 | 0.10764 | 0.10764 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 11.5 | 9.5 | TAT207 | TAT1 | -2 | 2 | 10.5 | 19.0476 | -17.3913 | 0.82609 | 10.2086 | -0.70863 | 0.70863 | -0.499 | 0.499 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 4.1 | 4.9 | TAT207 | TAT1 | 0.8 | 0.8 | 4.5 | 17.7778 | 19.5122 | 1.1951 | 3.2929 | 1.6071 | 1.6071 | 1.1316 | 1.1316 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 6.1 | 5.1 | TAT207 | TAT1 | -1 | 1 | 5.6 | 17.8571 | -16.3934 | 0.83607 | 5.1621 | -0.062052 | 0.062052 | -0.043696 | 0.043696 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 9.2 | 6.3 | TAT207 | TAT1 | -2.9 | 2.9 | 7.75 | 37.4194 | -31.5217 | 0.68478 | 8.0592 | -1.7592 | 1.7592 | -1.2388 | 1.2388 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 20.9 | 13.1 | TAT207 | TAT1 | -7.8 | 7.8 | 17 | 45.8824 | -37.3206 | 0.62679 | 18.9934 | -5.8934 | 5.8934 | -4.15 | 4.15 | candidate | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 5.2 | 5.9 | TAT207 | TAT1 | 0.7 | 0.7 | 5.55 | 12.6126 | 13.4615 | 1.1346 | 4.321 | 1.579 | 1.579 | 1.1119 | 1.1119 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 5.2 | 4.8 | TAT207 | TAT1 | -0.4 | 0.4 | 5 | 8 | -7.6923 | 0.92308 | 4.321 | 0.47904 | 0.47904 | 0.33733 | 0.33733 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 7.8 | 8.1 | TAT207 | TAT1 | 0.3 | 0.3 | 7.95 | 3.7736 | 3.8462 | 1.0385 | 6.7508 | 1.3492 | 1.3492 | 0.95008 | 0.95008 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 3.1 | 3.8 | TAT207 | TAT1 | 0.7 | 0.7 | 3.45 | 20.2899 | 22.5806 | 1.2258 | 2.3584 | 1.4416 | 1.4416 | 1.0151 | 1.0151 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 4.5 | 5 | TAT207 | TAT1 | 0.5 | 0.5 | 4.75 | 10.5263 | 11.1111 | 1.1111 | 3.6668 | 1.3332 | 1.3332 | 0.93883 | 0.93883 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 6.4 | 5.7 | TAT207 | TAT1 | -0.7 | 0.7 | 6.05 | 11.5702 | -10.9375 | 0.89062 | 5.4424 | 0.25758 | 0.25758 | 0.18138 | 0.18138 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 6.5 | 5.4 | TAT207 | TAT1 | -1.1 | 1.1 | 5.95 | 18.4874 | -16.9231 | 0.83077 | 5.5359 | -0.13587 | 0.13587 | -0.095679 | 0.095679 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 5.1 | 5.1 | TAT207 | TAT1 | 0 | 0 | 5.1 | 0 | 0 | 1 | 4.2275 | 0.8725 | 0.8725 | 0.61439 | 0.61439 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 9.3 | 9.8 | TAT207 | TAT1 | 0.5 | 0.5 | 9.55 | 5.2356 | 5.3763 | 1.0538 | 8.1526 | 1.6474 | 1.6474 | 1.16 | 1.16 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 10.8 | 10.7 | TAT207 | TAT1 | -0.1 | 0.1 | 10.75 | 0.93023 | -0.92593 | 0.99074 | 9.5544 | 1.1456 | 1.1456 | 0.80667 | 0.80667 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 9.7 | 7.1 | TAT207 | TAT1 | -2.6 | 2.6 | 8.4 | 30.9524 | -26.8041 | 0.73196 | 8.5264 | -1.4264 | 1.4264 | -1.0045 | 1.0045 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 5.8 | 5.7 | TAT207 | TAT1 | -0.1 | 0.1 | 5.75 | 1.7391 | -1.7241 | 0.98276 | 4.8817 | 0.81831 | 0.81831 | 0.57624 | 0.57624 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 4.7 | 4.9 | TAT207 | TAT1 | 0.2 | 0.2 | 4.8 | 4.1667 | 4.2553 | 1.0426 | 3.8537 | 1.0463 | 1.0463 | 0.7368 | 0.7368 | none | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS

## outliers
SampleID | TAT207 | TAT1 | X | Y | diff_y_minus_x | abs_diff_yx | mean_xy | rel_diff_yx_pct | bias_pct_vs_x | ratio_y_over_x | pred_y | residual | abs_residual | z_MAD | abs_z_MAD | outlier_level | outlier_basis | outlier_note | regression
| 30 | 16 | TAT207 | TAT1 | -14 | 14 | 23 | 60.8696 | -46.6667 | 0.53333 | 27.4978 | -11.4978 | 11.4978 | -8.0965 | 8.0965 | strong_candidate | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 123.5 | 125.8 | TAT207 | TAT1 | 2.3 | 2.3 | 124.65 | 1.8452 | 1.8623 | 1.0186 | 114.8784 | 10.9216 | 10.9216 | 7.6907 | 7.6907 | strong_candidate | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 46.7 | 33.1 | TAT207 | TAT1 | -13.6 | 13.6 | 39.9 | 34.0852 | -29.1221 | 0.70878 | 43.1049 | -10.0049 | 10.0049 | -7.0452 | 7.0452 | strong_candidate | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 20.9 | 13.1 | TAT207 | TAT1 | -7.8 | 7.8 | 17 | 45.8824 | -37.3206 | 0.62679 | 18.9934 | -5.8934 | 5.8934 | -4.15 | 4.15 | candidate | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS
| 27.4 | 19.6 | TAT207 | TAT1 | -7.8 | 7.8 | 23.5 | 33.1915 | -28.4672 | 0.71533 | 25.068 | -5.468 | 5.468 | -3.8504 | 3.8504 | candidate | 回帰残差 y-(slope*x+intercept) をMADで標準化 | 乖離候補であり、自動除外ではない | OLS